## Slide 1: STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
MAIN BODY OF DIGITAL pH METER WITHOUT ELECTRODE

## Slide 2
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
FRONT PROFILE OF DIGITAL pH METER

## Slide 3
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
SIDE PROFILE OF DIGITAL pH METER

## Slide 4
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
ELECTRODE OF DIGITAL pH METER
WITH PROTECTIVE CAP
WITHOUT PROTECTIVE CAP

## Slide 5
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
ELECTRODE OF DIGITAL pH METER
PLASTIC PROTECTIVE BODY REMOVED TO EXPOSE GLASS ELECTRODE

## Slide 6
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
ELECTRODE OF DIGITAL pH METER
EXPOSED GLASS ELECTRODE WITHOUT PLASTIC BODY AND CLAMP

## Slide 7
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
ELECTRODE OF DIGITAL pH METER
EXPOSED GLASS ELECTRODE WITHOUT PLASTIC BODY AND CLAMP SHOWING APERTURE FOR ADDING POTASSIUM CHLORIDE

## Slide 8
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
CALIBRATION OF DIGITAL pH METER WITHOUT ELECTRODE

## Slide 9
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
CALIBRATION OF DIGITAL pH METER WITHOUT ELECTRODE

## Slide 10
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
CALIBRATION OF DIGITAL pH METER WITHOUT ELECTRODE

## Slide 11
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
ATTACHMENT OF ELECTRODE TO THE DIGITAL pH METER

## Slide 12
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
DIGITAL pH METER WITH ELECTRODE IMMERSED IN DISTILLED WATER

## Slide 13
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
CALIBRATION OF DIGITAL pH METER BY USING BUFFER TABLETS

## Slide 14
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
CALIBRATION OF DIGITAL pH METER USING BUFFER TABLETS

## Slide 15
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
CALIBRATION OF DIGITAL pH METER USING BUFFER TABLETS
Potassium dihydrogen phosphate

## Slide 16
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
CALIBRATION OF DIGITAL pH METER USING BUFFER TABLETS
Potassium hydrogen phthalate

## Slide 17
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
CALIBRATION OF DIGITAL pH METER USING BUFFER TABLETS
Boric acid

## Slide 18
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
DIGITAL pH METER WITH ELECTRODE BEING FLUSHED IN DISTILLED WATER BY USING MAGNETIC STIRRER

## Slide 19
STANDARD OPERATING PROCEDURE (SOP) OF DIGITAL pH METER
DIGITAL pH METER WITH ELECTRODE IMMERSED IN DISTILLED WATER